## Slide 1
VVBP-Tensor in the FBP Algorithm: Its Properties and Application in Low-Dose CT Reconstruction
陈祥
2020.12.22
Xi Tao, Hua Zhang, Yongbo Wang, Gang Yan, Dong Zeng, Wufan Chen, and Jianhua Ma
IEEE TRANSACTIONS ON MEDICAL IMAGING 2020

## Slide 2
FBP Steps
filtering
2. view-by-view back projection (VVBP)
3. Summing

## Slide 3
Contributions
2. propose an algorithm named VVBP-tSVD to denoise the
VVBP-Tensor.
1. We analyzed the properties of VVBP-Tensor, including
structural self-similarity, tensor sparsity, and noise statistics.

## Slide 4
Pipeline of VVBP-Tensor Analysis
linear and invertible

## Slide 5
Method
sorted VVBP-Tensors contain rich structures

## Slide 6
VVBP-Tensor Properties
from five adjacent slices of the phantom VVBP-Tensor and computed their similarity maps
similarity maps: negative Euclidean distance
same structures across different slices
It was observed that the VVBP-Tensor possesses good structural self similarity.

## Slide 7
VVBP-Tensor Properties
VVBP-Tensor resides on a low-rank
subspace along each mode and therefore possesses good tensor
sparsity

## Slide 8
VVBP-Tensor Properties
In previous work
The noise variance at pixel (i, j, k) can be estimated as the squared weighted average of the noise variance of its neighbor pixels

## Slide 9
Models
half-quadratic splitting
=
nuclear norm of a tensor

## Slide 10
Models

## Slide 11
Models
slice-by-slice normalized
the VVBP-Tensors of the phantom and patient data used in this study contain 1160 and 576 slices, respectively
the processing time is greatly reduced while quality of the result is slightly degraded

## Slide 12
Experiments & Results
Influence of the Down sampling Factor
Down sampling factor was set to 8

## Slide 13
Experiments & Results
Datasets: a physical phantom and three patients from the LowDose CT Grand Challenge dataset
physical phantom :One level of tube voltage (120 kVp) and three levels of tube current (17, 40, and 60 mAs) were set.
In addition, a sinogram, which was acquired by averaging 150 repeated measurements at 100 mAs and 120 kVp, was used as the ground truth.
patients datas: data under 1/6- and 1/8-dose levels

## Slide 14
Experiments & Results

## Slide 15
Experiments & Results

## Slide 16
Experiments & Results

## Slide 17
Experiments & Results

## Slide 18
Experiments & Results
NMSE: normalized mean-square error
FSIM: feature similarity

## Slide 19
Experiments & Results
Patient Study

## Slide 20
Experiments & Results

## Slide 21
Experiments & Results

## Slide 22
Experiments & Results
Notes: 评价指标：TP:如果预测的细胞中心和ground truth距离小于p（p是数据集里最小的细胞半径）
没有预测到的被记为FN

## Slide 23
Experiments & Results
Notes: 评价指标：TP:如果预测的细胞中心和ground truth距离小于p（p是数据集里最小的细胞半径）
没有预测到的被记为FN

## Slide 24
DISCUSSION AND CONCLUSION
the VVBP-Tensors for high-mAs and low-mAs CT from the same object are different.
Reasons:
ramp filter is high-pass filter
Therefore, the goal of VVBP-Tensor denoising should be to reduce the noise in low-mAs VVBP Tensor but not to restore it as a high-mAs one
the noisy low-mAs sinograms tend to have a wider gray range than their high-mAs counterparts
Notes: 评价指标：TP:如果预测的细胞中心和ground truth距离小于p（p是数据集里最小的细胞半径）
没有预测到的被记为FN

## Slide 25
Thank You!